## Sheet1
Project: | VBMC Dyson Linear Accelerator Replacement Project | Date: | 2021-01-11
45 Reade Place
Poughkeepsie, NY 12601
Scope review questions
|  | Yes | No | Comments
1 | Do you accept the contract terms of Nuvance Health Network Construction agreement
2 | Does your bid include all work shown within project plans and spec's related to the referenced project
3 | Does your bid include Pre bid RFI response dated_________ and on drawings?
4 | Does your bid include general conditions on schedule "A" on the bid form
5 | Does your bid include a full time project superintendent for project duration
6 | Does your bid include a full time project laborer for project duration
7 | Does your bid include permit fees
8 | Does your bid include tracking the cost by ticket work for any demo needed not completed by ACM contractor
9 | Does your bid include dumpsters
10 | Does your bid include all data including punch down and testing
11 | Does your bid include draining and filling of house systems - during off hours
12 | Does your bid include all fire alarm work with program and testing
13 | Does you bid include nurse call system
14 | Does your bid include all sprinkler work and coordination as required for project phasing
15 | Does your bid include all electrical demolition and circuit tracing where needed
16 | Does your bid include coordination of all MEP trades
17 | Does your bid include coordination of building shutdown to perform work.
18 | Does your bid include MED gas piping and certifications
19 | Does your bid include any off hour work
20 | Does your bid include negative air to exhaust outside
21 | Did you include final cleaning during each phase (Terminal clean)
22 | Does your bid include attendance for weekly meetings and meeting minutes
23 | Does you bid include ICRA plan for the project
24 | Are your subcontractors aware of the schedule
25 | Does your bid include general conditions noted in RFP
26 | Do you have any issues with the Construction agreement sent with the RFP
27 | Did you include electronic as built and close out Documents
28 | Does you bid include tacky mats at construction site and continue mopping of pathways to dumpsters to meet ICRA
29 | Does your bid include final air and water balancing
30 | Did you include any furniture in your proposal
Reviewer: John Sterry
Construction Manager: |  | C.M. Representative:
Signature: Date: |  | Signature: Date:
Signature: Date: |  | Signature: Date:
Signature: Date: |  | Signature: Date:
Signature: Date: |  | Signature: Date: