SECTION 01 00 00
GENERAL REQUIREMENTS

TABLE OF CONTENTS

1.1 SAFETY REQUIREMENTS	1

1.2 GENERAL INTENTION	1

1.3 STATEMENT OF BID ITEM(S)	1

1.4 SPECIFICATIONS AND DRAWINGS FOR CONTRACTOR	2

1.5 CONSTRUCTION SECURITY REQUIREMENTS	2

1.6 OPERATIONS AND STORAGE AREAS	5

1.7 ALTERATIONS	8

1.8 RESTORATION	10

1.9 PHYSICAL DATA	11

1.10 LAYOUT OF WORK	11

1.11 AS-BUILT DRAWINGS	11

1.13 TEMPORARY TOILETS	12

1.14 AVAILABILITY AND USE OF UTILITY SERVICES	13

1.15 TESTS	14

1.16 INSTRUCTIONS	15

1.17 RELOCATED EQUIPMENT AND ITEMS 	16

1.18 CONSTRUCTION SIGN	17

1.19 SAFETY SIGN	17

1.20 HISTORIC PRESERVATION	18

SECTION 01 00 00
GENERAL REQUIREMENTS

1.1 safety requirements

Refer to section 01 35 26, SAFETY REQUIREMENTS for safety and infection control requirements.

1.2 GENERAL INTENTION

A.	Contractor shall completely prepare site for building operations, including demolition and removal of existing structures, and furnish labor and materials and perform work for Project 620-20-206 “Fire Department Renovations at FDR” as required by drawings and specifications.

B.	Visits to the site by Bidders may be made only by appointment with the Medical Center Engineering.

C.	All employees of general contractor and subcontractors shall comply with VA security management program and obtain permission of the VA police, be identified by project and employer, and restricted from unauthorized access.

1.3 STATEMENT OF BID ITEM(S)

A.	ITEM I, GENERAL CONSTRUCTION: BASE BID:  The Contractor shall furnish all labor, materials, tools equipment and supervision necessary to perform and complete the work for the Project #620-20-206, Building 19 Fire Department Building Renovation at the FDR Montrose Campus. The renovations will include but not be limited to the project phasing for the demolition and general interior alterations, Lead and Asbestos abatement, Roof System replacement, Mechanical and Plumbing system upgrades and all Electrical system upgrades in strict accordance with the contract drawings , specifications and any applicable codes at the Montrose, VA Hudson Valley Healthcare System, New York.

Work shall comply with VA Specifications and Regulations, specific regulations related to working at VA Hudson valley Health Care System, Montrose, New York as defined in the General Requirements Section of the contract, and all applicable Federal, State and Local codes.  Contractor shall be responsible to complete the work within the contractual period of performance, and typically within the work hours as defined in the contract. The Contractor shall anticipate performing some of this work during non-peak hours, such as weekends or evenings to accommodate activities at this site. Contractor shall be responsible to plan and coordinate Construction Phasing with the Project Engineer/COR to ensure full access to the site at all times.

Asbestos and Lead abatement: Asbestos and Lead abatement within Building 19.

Project will involve but not be limited to trades such as asbestos abatement, lead paint abatement, disposal of abatement wastes.  The period of performance for this project will include the following elements as noted below:

- Environmental Abatement of Building 19 Roofing Elements

- Environmental Abatement of Asbestos and LBP elements within Building 19

Roof System Replacement

Roof demolition and removal of existing building roof system down to the concrete roof deck including the areas at the base of perimeter masonry parapet walls and any mechanical roof curbs and roof/parapet penetrations and scuppers. Roofing demolition will require coordination with the mechanical and electrical system contractor(s) in the removal of any mechanical systems and services presently on the existing roof. This will allow for the installation of a new insulated EPDM roofing system. Additionally, the roof replacement portion of the project will entail the limited repairs and replacement of masonry wall sections, repointing of limited masonry wall areas and the removal and replacement of limited deteriorated parapet wall coping stones. Where masonry repointing is necessary and required, the GC will employ all necessary silica dust control procedures and protocols.

Interior Demotion and Renovation Construction

Interior Demolition:  Removal of all interior drywall & ceiling systems as noted on the contract documents and specifications. All demolition work shall be coordinated with the appropriate mechanical, electrical, plumbing, and environmental abatement trades. Construction Phasing for this portion of the work will be coordinated with the project COR along with all Life Safety and Infection Controls procedures and protocols.

Interior Renovations: Construct new drywall partition systems and acoustical ceiling systems as noted on the contract drawings and specifications. All renovation work shall be coordinated with the appropriate mechanical, electrical, plumbing and environmental abatement trades. Construction Phasing for this portion of the work will be coordinated with the project COTR along with all Life Safety and Infection Controls procedures and protocols.

Electrical, HVAC, Plumbing Systems, Life Safety (Sprinkler and Fire Alarm Modifications)

Electrical: Electrical demolition work on this project will include but not be limited to the removal of existing electrical wired devices, lighting  fixtures, circuit panels,  etc.; installation of existing and new power and lighting including all conduits, conductors, junction boxes, hangers, attachments, etc. as required for a complete and working system.

Mechanical: Mechanical construction work on this project including relocation of existing steam trench piping systems and accessories, removal and modifications to existing heating and ventilation duct systems.

Plumbing:  The removal and capping or existing plumbing systems and the installation of all new plumbing system piping and components as indicated on the contract drawings and specifications.

Fire Alarm System and Sprinklers Modifications: Removal & relocation/upgrades of existing fire alarm system devices including conduits, conductors, devices, alarm interfaces, etc. as required for a complete and working fire alarm life safety system.  This work will entail the testing, adjusting, reprogramming and recertification of the fire alarm system.  Additionally, this portion of the project will entail the modification of the existing fire sprinkler system as noted in the contract documents and project specifications.

Contractor will be responsible to coordinate and schedule work to minimize construction duration and shall be expected to plan work typically during duty hours of the Medical Center, other than utility ties-ins or work required in the COR’s opinion to be performed during off duty hours. Maintain all access to and egress from the building at all times for facility’s fire protection requirements and to meet the requirements of regulatory codes, laws, etc.

Temporary Quarters

A temporary trailer will be provided that will house 2 firemen for the duration of the project. Utility connections will be made that provide heat and air conditioning to the premises.

Contract Completion shall be 300 Calendar Days from the Notice to Proceed.

At no additional cost to the Government, the Contractor shall allow the VA’s in-house personnel to investigate and perform repairs above the ceiling on the job site for a period of forty five (45) calendar days after the existing ceiling is demolished and removed and prior to the start of the new ceiling installation.  Repairs to be performed by the VA’s personnel include fire stopping improperly sealed penetrations through the walls and the slab above the ceiling level and removing items which may be attached to the sprinkler system.  During this period, the Contractor shall work on other contract work items which are located outside of the corridor space.  Contractor shall coordinate with the COR.

B. ITEM II, GENERAL CONSTRUCTION: DEDUCT ALTERNATE #1 – BASE BID minus

# The contractor is to perform all work in the Base Bid less the inclusion of new automatic transfer switch and new emergency distribution panel. Refer to electrical drawings ED 100 and EP 140

# The period of performance for Bid Deduct Alternate Item # 2 construction will still be 300 calendar days from Notice to Proceed (NTP).

1.4 SPECIFICATIONS AND DRAWINGS FOR CONTRACTOR

A.	Drawings and contract documents may be obtained from the website where the solicitation is posted.  Additional copies will be at Contractor's expense.

1.5 CONSTRUCTION SECURITY REQUIREMENTS

A.	Security Plan:

1.	The security plan defines both physical and administrative security procedures that will remain effective for the entire duration of the project.

B.	Security Procedures:

1.	General Contractor’s employees shall not enter the project site without appropriate VA ID badge.  They may also be subject to inspection of their personal effects when entering or leaving the project site.

2.	Before starting work, the General Contractor shall give the Contracting Officer (CO) and the Contracting Officer’s Representative (COR)two weeks notice of contractor personnel scheduled to be on site to ensure the employees have started the process to obtain VA ID badges.  This notice is separate from any notices required for utility shutdown described later in this section.

3.	No photography of VA premises is allowed without written permission of the Contracting Officer.

4.	VA reserves the right to close down or shut down the project site and order General Contractor’s employees off the premises in the event of a national emergency.  The General Contractor may return to the site only with the written approval of the Contracting Officer.

C.	Key Control:

1.	The General Contractor shall provide duplicate keys and lock combinations to the Contracting officers representative (COR) for the purpose of security inspections of every area of project including tool boxes and parked vehicles.

2.	The General Contractor shall machine and take any emergency action turn over all permanent lock cylinders to the VA locksmith for permanent installation. See Section 08 71 00, DOOR HARDWARE and coordinate.

D.	Document Control:

1.	Before starting any work, the General Contractor/Sub Contractors shall submit an electronic security memorandum describing the approach to following goals and maintaining confidentiality of “sensitive information”.

2.	The General Contractor is responsible for safekeeping of all drawings, project manual and other project information.  This information shall be shared only with those with a specific need to accomplish the project.

3.	Certain documents, sketches, videos or photographs and drawings may be marked “Law Enforcement Sensitive” or “Sensitive Unclassified”.  Secure such information in separate containers and limit the access to only those who will need it for the project.  Return the information to the Contracting Officer upon request.

4.	These security documents shall not be removed or transmitted from the project site without the written approval of Contracting Officer.

5.	All paper waste or electronic media such as CD’s and diskettes shall be shredded and destroyed in a manner acceptable to the VA.

6.	Notify Contracting Officer and Site Security Officer immediately when there is a loss or compromise of “sensitive information”.

7.	All electronic information shall be stored in specified location following VA standards and procedures using an Engineering Document Management Software (EDMS).

a.	Security, access and maintenance of all project drawings, both scanned and electronic shall be performed and tracked through the EDMS system.

b.	“Sensitive information” including drawings and other documents may be attached to e-mail provided all VA encryption procedures are followed.

E.	Motor Vehicle Restrictions

1.	Vehicle authorization request shall be required for any vehicle entering the site and such request shall be submitted 24 hours before the date and time of access.  Access shall be restricted to picking up and dropping off materials and supplies.

2.	A limited number of (2 to 5) permits shall be issued for General Contractor and its employees for parking in designated areas only.

1.6 OPERATIONS AND STORAGE AREAS

A.	The Contractor shall confine all operations (including storage of materials) on Government premises to areas authorized or approved by the Contracting Officer. The Contractor shall hold and save the Government, its officers and agents, free and harmless from liability of any nature occasioned by the Contractor's performance.

(FAR 52.236-10)

B.	Working space and space available for storing materials shall be as determined by the COR.

C.	Workmen are subject to rules of Medical Center applicable to their conduct.

D.	Execute work in such a manner as to interfere as little as possible with work being done by others. Keep roads clear of construction materials, debris, standing construction equipment and vehicles at all times.

E.	Execute work so as to interfere as little as possible with normal functioning of Medical Center as a whole, including operations of utility services, fire protection systems and any existing equipment, and with work being done by others.  Use of equipment and tools that transmit vibrations and noises through the building structure, are not permitted in buildings that are occupied, during construction, jointly by patients or medical personnel, and Contractor's personnel, except as permitted by COR where required by limited working space.

1.	Do not store materials and equipment in other than assigned areas.

2.	Schedule delivery of materials and equipment to immediate construction working areas within buildings in use by Department of Veterans Affairs in quantities sufficient for not more than two work days. Provide unobstructed access to Medical Center areas required to remain in operation.

F.	Utilities Services: Where necessary to cut existing pipes, electrical wires, conduits, cables, etc., of utility services, or of fire protection systems or communications systems (except telephone), they shall be cut and capped at suitable places where shown; or, in absence of such indication, where directed by COR.  All such actions shall be coordinated with the COR or Utility Company involved:

1.	Whenever it is required that a connection fee be paid to a public utility provider for new permanent service to the construction project, for such items as water, sewer, electricity, gas or steam, payment of such fee shall be the responsibility of the Government and not the Contractor.

G.	Building No. 19 will be not occupied during performance of work.

1.	Contractor shall take all measures and provide all material necessary for protecting existing equipment and property in affected areas of construction against dust and debris, so that equipment and affected areas to be used in the Medical Centers operations will not be hindered. Contractor shall permit access to Department of Veterans Affairs personnel and patients through other construction areas which serve as routes of access to such affected areas and equipment.  These routes whether access or egress shall be isolated from the construction area by temporary partitions and have walking surfaces, lighting. etc to facilitate patient and staff access.   Coordinate alteration work in areas occupied by Department of Veterans Affairs so that Medical Center operations will continue during the construction period.

H.	When a building and/or construction site is turned over to Contractor, Contractor shall accept entire responsibility including upkeep and maintenance therefore:

1.	Contractor shall maintain a minimum temperature of 4 degrees C (40 degrees F) at all times, except as otherwise specified.

2.	Contractor shall maintain in operating condition existing fire protection and alarm equipment. In connection with fire alarm equipment, Contractor shall make arrangements for pre-inspection of site with Fire Department or Company (Department of Veterans Affairs or municipal) whichever will be required to respond to an alarm from Contractor's employee or watchman.

I.	Utilities Services: Maintain existing utility services for Medical Center at all times. Provide temporary facilities, labor, materials, equipment, connections, and utilities to assure uninterrupted services. Where necessary to cut existing water, steam, gases, sewer or air pipes, or conduits, wires, cables, etc. of utility services or of fire protection systems and communications systems (including telephone), they shall be cut and capped at suitable places where shown; or, in absence of such indication, where directed by COR.

1.	No utility service such as water, gas, steam, sewers or electricity, or fire protection systems and communications systems may be interrupted without prior approval of COR.  Electrical work shall be accomplished with all affected circuits or equipment de-energized. When an electrical outage cannot be accomplished, work on any energized circuits or equipment shall not commence without a detailed work plan, the Medical Center Director’s prior knowledge and written approval.  Refer to specification Sections 26 05 11, REQUIREMENTS FOR ELECTRICAL INSTALLATIONS, 27 05 11 REQUIREMENTS FOR COMMUNICATIONS INSTALLATIONS and 28 05 00, COMMON WORK RESULTS FOR ELECTRONIC SAFETY AND SECURITY for additional requirements.

2.	Contractor shall submit a request to interrupt any such services to COR, in writing, 7 days in advance of proposed interruption. Request shall state reason, date, exact time of, and approximate duration of such interruption.

3.	Contractor will be advised (in writing) of approval of request, or of which other date and/or time such interruption will cause least inconvenience to operations of Medical Center.  Interruption time approved by Medical Center may occur at other than Contractor's normal working hours.

4.	Major interruptions of any system must be requested, in writing, at least 15 calendar days prior to the desired time and shall be performed as directed by the COR.

5.	In case of a contract construction emergency, service will be interrupted on approval of COR.  Such approval will be confirmed in writing as soon as practical.

6.	Whenever it is required that a connection fee be paid to a public utility provider for new permanent service to the construction project, for such items as water, sewer, electricity, gas or steam, payment of such fee shall be the responsibility of the Government and not the Contractor.

J.	Abandoned Lines: All service lines such as wires, cables, conduits, ducts, pipes and the like, and their hangers or supports, which are to be abandoned but are not required to be entirely removed, shall be sealed, capped or plugged at the main, branch or panel they originate from. The lines shall not be capped in finished areas, but shall be removed and sealed, capped or plugged in ceilings, within furred spaces, in unfinished areas, or within walls or partitions; so that they are completely behind the finished surfaces.

K.	Coordinate the work for this contract with other construction operations as directed by COR. This includes the scheduling of traffic and the use of roadways, as specified in Article, USE OF ROADWAYS.

1.7 ALTERATIONS

A.	Survey: Before any work is started, the Contractor shall make a thorough survey with the COR of area of Building 19 in which alterations occur and areas which are anticipated routes of access, and furnish a report, signed by both to the Contracting Officer.  This report shall list by rooms and spaces:

1.	Existing condition and types of resilient flooring, doors, windows, walls and other surfaces not required to be altered throughout // affected areas of Building 4.

2.	Existence and conditions of items such as plumbing fixtures and accessories, electrical fixtures, equipment, venetian blinds, shades, etc., required by drawings to be either reused or relocated, or both.

3.	Shall note any discrepancies between drawings and existing conditions at site.

4.	Shall designate areas for working space, materials storage and routes of access to areas within buildings where alterations occur and which have been agreed upon by Contractor and COR.

B.	Any items required by drawings to be either reused or relocated or both, found during this survey to be nonexistent, or in opinion of COR to be in such condition that their use is impossible or impractical, shall be furnished and/or replaced by Contractor with new items in accordance with specifications which will be furnished by Government. Provided the contract work is changed by reason of this subparagraph B, the contract will be modified accordingly, under provisions of clause entitled "DIFFERING SITE CONDITIONS" (FAR 52.236-2) and "CHANGES" (FAR 52.243-4 and VAAR 852.236-88).

C.	Re-Survey: Thirty days before expected partial or final inspection date, the Contractor and COR together shall make a thorough re-survey of the areas of buildings involved. They shall furnish a report on conditions then existing, of resilient flooring, doors, windows, walls and other surfaces as compared with conditions of same as noted in first condition survey report:

1.	Re-survey report shall also list any damage caused by Contractor to such flooring and other surfaces, despite protection measures; and, will form basis for determining extent of repair work required of Contractor to restore damage caused by Contractor's workmen in executing work of this contract.

D.	Protection: Provide the following protective measures:

1.	Wherever existing roof surfaces are disturbed they shall be protected against water infiltration. In case of leaks, they shall be repaired immediately upon discovery.

2.	Temporary protection against damage for portions of existing structures and grounds where work is to be done, materials handled and equipment moved and/or relocated.

3.	Protection of interior of existing structures at all times, from damage, dust and weather inclemency. Wherever work is performed, floor surfaces that are to remain in place shall be adequately protected prior to starting work, and this protection shall be maintained intact until all work in the area is completed.

1.8 RESTORATION

A.	Remove, cut, alter, replace, patch and repair existing work as necessary to install new work. Except as otherwise shown or specified, do not cut, alter or remove any structural work, and do not disturb any ducts, plumbing, steam, gas, or electric work without approval of the COR.  Existing work to be altered or extended and that is found to be defective in any way, shall be reported to the COR before it is disturbed.  Materials and workmanship used in restoring work, shall conform in type and quality to that of original existing construction, except as otherwise shown or specified.

B.	Upon completion of contract, deliver work complete and undamaged. Existing work (walls, ceilings, partitions, floors, mechanical and electrical work, lawns, paving, roads, walks, etc.) disturbed or removed as a result of performing required new work, shall be patched, repaired, reinstalled, or replaced with new work, and refinished and left in as good condition as existed before commencing work.

C.	At Contractor's own expense, Contractor shall immediately restore to service and repair any damage caused by Contractor's workmen to existing piping and conduits, wires, cables, etc., of utility services or of fire protection systems and communications systems (including telephone) which are not scheduled for discontinuance or abandonment.

D.	Expense of repairs to such utilities and systems not shown on drawings or locations of which are unknown will be covered by adjustment to contract time and price in accordance with clause entitled "CHANGES" (FAR 52.243-4 and VAAR 852.236-88) and "DIFFERING SITE CONDITIONS" (FAR 52.236-2).

1.9 PHYSICAL DATA

A.	Data and information furnished or referred to below is for the Contractor's information. The Government shall not be responsible for any interpretation of or conclusion drawn from the data or information by the Contractor.

1.10 LAYOUT OF WORK

A.	The Contractor shall lay out the work from Government established base lines and bench marks, indicated on the drawings, and shall be responsible for all measurements in connection with the layout. The Contractor shall furnish, at Contractor's own expense, all stakes, templates, platforms, equipment, tools, materials, and labor required to lay out any part of the work. The Contractor shall be responsible for executing the work to the lines and grades that may be established or indicated by the Contracting Officer. The Contractor shall also be responsible for maintaining and preserving all stakes and other marks established by the Contracting Officer until authorized to remove them. If such marks are destroyed by the Contractor or through Contractor's negligence before their removal is authorized, the Contracting Officer may replace them and deduct the expense of the replacement from any amounts due or to become due to the Contractor.

(FAR 52.236-17)

B.	Establish and plainly mark center lines for each building and corner of column lines and/or addition to each existing building, and such other lines and grades that are reasonably necessary to properly assure that location, orientation, and elevations established are in accordance with lines and elevations shown on contract drawings.

1.11 AS-BUILT DRAWINGS

A.	The contractor shall maintain two full size sets of as-built drawings which will be kept current during construction of the project, to include all contract changes, modifications and clarifications.

B.	All variations shall be shown in the same general detail as used in the contract drawings. To insure compliance, as-built drawings shall be made available for the COR’s review, as often as requested.

C.	Contractor shall deliver two approved completed sets of as-built drawings in the electronic version (scanned PDF) to the COR within 15 calendar days after the acceptance of the project by the COR.

D.	Paragraphs A, B, & C shall also apply to all shop drawings.

1.13 TEMPORARY TOILETS

A.	Contractor may have for use of Contractor's workmen, such toilet accommodations as may be assigned to Contractor by Medical Center. Contractor shall keep such places clean and be responsible for any damage done thereto by Contractor's workmen. Failure to maintain satisfactory condition in toilets will deprive Contractor of the privilege to use such toilets.

1.14 AVAILABILITY AND USE OF UTILITY SERVICES

A.	The Government shall make all reasonably required amounts of utilities available to the Contractor from existing outlets and supplies.

B.	Heat: Furnish temporary heat necessary to prevent injury to work and materials through dampness and cold. Use of open salamanders or any temporary heating devices which may be fire hazards or may smoke and damage finished work, will not be permitted. Maintain minimum temperatures as specified for various materials:

1.	Obtain heat by connecting to Medical Center heating distribution system.

C.	Electricity (for Construction and Testing): Furnish all temporary electric services.

1.	Obtain electricity by connecting to the Medical Center electrical distribution system. The Contractor shall meter and pay for electricity required for electric cranes and hoisting devices, electrical welding devices and any electrical heating devices providing temporary heat. Electricity for all other uses is available at no cost to the Contractor.

D.	Water (for Construction and Testing): Furnish temporary water service.

1.	Obtain water by connecting to the Medical Center water distribution system. Provide reduced pressure backflow preventer at each connection as per code. Water is available at no cost to the Contractor.

2.	Maintain connections, pipe, fittings and fixtures and conserve water-use so none is wasted. Failure to stop leakage or other wastes will be cause for revocation (at COR discretion) of use of water from Medical Center's system.

1.15 TESTS

A.	As per specification section 23 05 93 the contractor shall provide a written testing and commissioning plan complete with component level, equipment level, sub-system level and system level breakdowns.  The plan will provide a schedule and a written sequence of what will be tested, how and what the expected outcome will be.  This document will be submitted for approval prior to commencing work.  The contractor shall document the results of the approved plan and submit for approval with the as built documentation.

B.	Pre-test mechanical and electrical equipment and systems and make corrections required for proper operation of such systems before requesting final tests. Final test will not be conducted unless pre-tested.

C.	Conduct final tests required in various sections of specifications in presence of an authorized representative of the Contracting Officer. Contractor shall furnish all labor, materials, equipment, instruments, and forms, to conduct and record such tests.

D.	Mechanical and electrical systems shall be balanced, controlled and coordinated. A system is defined as the entire system which must be coordinated to work together during normal operation to produce results for which the system is designed. For example, air conditioning supply air is only one part of entire system which provides comfort conditions for a building. Other related components are return air, exhaust air, steam, chilled water, refrigerant, hot water, controls and electricity, etc. Another example of a system which involves several components of different disciplines is a boiler installation. Efficient and acceptable boiler operation depends upon the coordination and proper operation of fuel, combustion air, controls, steam, feedwater, condensate and other related components.

E.	All related components as defined above shall be functioning when any system component is tested. Tests shall be completed within a reasonably period of time during which operating and environmental conditions remain reasonably constant and are typical of the design conditions.

F.	Individual test result of any component, where required, will only be accepted when submitted with the test results of related components and of the entire system.

1.16 INSTRUCTIONS

A.	Contractor shall furnish Maintenance and Operating manuals (hard copies and electronic) and verbal instructions when required by the various sections of the specifications and as hereinafter specified.

B.	Manuals: Maintenance and operating manuals and one compact disc (four hard copies and one electronic copy each) for each separate piece of equipment shall be delivered to the Resident Engineer // COR // coincidental with the delivery of the equipment to the job site. Manuals shall be complete, detailed guides for the maintenance and operation of equipment. They shall include complete information necessary for starting, adjusting, maintaining in continuous operation for long periods of time and dismantling and reassembling of the complete units and sub-assembly components. Manuals shall include an index covering all component parts clearly cross-referenced to diagrams and illustrations. Illustrations shall include "exploded" views showing and identifying each separate item. Emphasis shall be placed on the use of special tools and instruments. The function of each piece of equipment, component, accessory and control shall be clearly and thoroughly explained. All necessary precautions for the operation of the equipment and the reason for each precaution shall be clearly set forth. Manuals must reference the exact model, style and size of the piece of equipment and system being furnished. Manuals referencing equipment similar to but of a different model, style, and size than that furnished will not be accepted.

C.	Instructions: Contractor shall provide qualified, factory-trained manufacturers' representatives to give detailed training to assigned Department of Veterans Affairs personnel in the operation and complete maintenance for each piece of equipment. All such training will be at the job site. These requirements are more specifically detailed in the various technical sections. Instructions for different items of equipment that are component parts of a complete system, shall be given in an integrated, progressive manner. All instructors for every piece of component equipment in a system shall be available until instructions for all items included in the system have been completed. This is to assure proper instruction in the operation of inter-related systems. All instruction periods shall be at such times as scheduled by the COR and shall be considered concluded only when the COR is satisfied in regard to complete and thorough coverage. The contractor shall submit a course outline with associated material to the COR for review and approval prior to scheduling training to ensure the subject matter covers the expectations of the VA and the contractual requirements.  The Department of Veterans Affairs reserves the right to request the removal of, and substitution for, any instructor who, in the opinion of the COR, does not demonstrate sufficient qualifications in accordance with requirements for instructors above.

1.17 RELOCATED EQUIPMENT AND ITEMS

A.	Contractor shall disconnect, dismantle as necessary, remove and reinstall in new location, all existing equipment and items shown to be relocated by the Contractor.

B.	Perform relocation of such equipment or items at such times and in such a manner as directed by the COR.

C.	Suitably cap existing service lines, such as steam, condensate return, water, drain, gas, air, vacuum and/or electrical, at the main whenever such lines are disconnected from equipment to be relocated. Remove abandoned lines in finished areas and cap as specified herein before under paragraph "Abandoned Lines".

D.	Provide all mechanical and electrical service connections, fittings, fastenings and any other materials necessary for assembly and installation of relocated equipment; and leave such equipment in proper operating condition.

E.	Contractor shall employ services of an installation engineer, who is an authorized representative of the manufacturer of this equipment to supervise assembly and installation of existing equipment, required to be relocated.

F.	All service lines such as noted above for relocated equipment shall be in place at point of relocation ready for use before any existing equipment is disconnected. Make relocated existing equipment ready for operation or use immediately after reinstallation.

1.18 CONSTRUCTION SIGN

A.	Provide a Construction Sign where directed by the COR.  All wood members shall be of framing lumber. Cover sign frame with 0.7 mm (24 gage) galvanized sheet steel nailed securely around edges and on all bearings. Provide three 100 by 100 mm (4 inch by 4 inch) posts (or equivalent round posts) set 1200 mm (four feet) into ground. Set bottom of sign level at 900 mm (three feet) above ground and secure to posts with through bolts. Make posts full height of sign. Brace posts with 50 x 100 mm (two by four inch) material as directed.

B.	Paint all surfaces of sign and posts two coats of white gloss paint. Border and letters shall be of black gloss paint, except project title which shall be blue gloss paint.

C.	Maintain sign and remove it when directed by the COR.

D.	Detail Drawing of construction sign showing required legend and other characteristics of sign is attached hereto and made a part of this specification.

1.19 SAFETY SIGN

A.	Provide a Safety Sign where directed by COR.   Face of sign shall be 19 mm (3/4 inch) thick exterior grade plywood.  Provide two 100 mm by 100 mm (four by four inch) posts extending full height of sign and 900 mm (three feet) into ground. Set bottom of sign level at 1200 mm (four feet) above ground.

B.	Paint all surfaces of Safety Sign and posts with one prime coat and two coats of white gloss paint. Letters and design shall be painted with gloss paint of colors noted.

C.	Maintain sign and remove it when directed by COR.

D.	Standard Detail Drawing Number SD10000-02(Found on VA TIL) of safety sign showing required legend and other characteristics of sign is  attached hereto and is made a part of this specification.

E.	Post the number of accident free days on a daily basis.

1.20 HISTORIC PRESERVATION

Where the Contractor or any of the Contractor's employees, prior to, or during the construction work, are advised of or discover any possible archeological, historical and/or cultural resources, the Contractor shall immediately notify the COR verbally, and then with a written follow up.

- - - E N D - - -