SECTION 09 06 00
SCHEDULE FOR FINISHES

PART I – GENERAL

1.1 DESCRiPTION

This section contains a coordinated system in which requirements for materials specified in other sections shown are identified by abbreviated material names and finish codes in the room finish schedule or shown for other locations.

1.2 MANUFACTURERS

Manufacturer’s trade names and numbers used herein are only to identify colors, finishes, textures and patterns. Products of other manufacturer’s equivalent to colors, finishes, textures and patterns of manufacturers listed that meet requirements of technical specifications will be acceptable upon approval in writing by contracting officer for finish requirements.

1.3 SUBMITALS

Submit in accordance with SECTION 01 33 23, SHOP DRAWINGS, PRODUCT DATA, AND SAMPLES provide quadruplicate samples for color approval of materials and finishes specified in this section.

1.4 applicable publications

A.	Publications listed below form a part of this specification to the extent referenced. Publications are referenced in text by basic designation only.

B.	MASTER PAINTING INSTITUTE: (MPI)

2001	Architectural Painting Specification Manual

PART 2 EXECUTION

2.1 FINSIH SCHEDULE SYMBOLS

Symbol 	Definition

P		Paint

ACT		Acoustical Ceiling Tile System

Vinyl		Vinyl Base

LVT		Luxury Vinyl Tile (Verify with VA)

2.2 ROOM FINISH SCHEDULE

A.	Match adjoining or existing similar surfaces colors, textures or patterns where disturbed or damaged by alterations or new work when not scheduled.

B. Provide finishes as specified in Room Finish Schedule below.

-- E N D---