# SECTION 10 26 00
WALL AND DOOR PROTECTION

GENERAL

## DESCRIPTION

This section specifies wall guards, handrail/wall guard combinations, corner guards and door/door frame protectors and high impact wall covering.

## RELATED WORK

Section 01 81 13, SUSTAINABLE CONSTRUCTION REQUIREMENTS: Sustainable Design Requirements.

Section 05 50 00, METAL FABRICATIONS: Structural Steel Corner Guards.

Section 08 71 00, DOOR HARDWARE: Armor plates and kick plates not specified in this section.

Section 09 06 00, SCHEDULE FOR FINISHES: Color and texture of aluminum and resilient material.

## QUALITY ASSURANCE

Manufacturer’s Qualifications: Manufacturer with a minimum of three (3) years’ experience in providing items of type specified.

Obtain wall and door protection from single manufacturer.

Installer’s Qualifications: Installers are to have a minimum of three (3) years’ experience in the installation of units required for this project.

## SUBMITTALS

Submit in accordance with Section 01 33 23, SHOP DRAWINGS, PRODUCT DATA, AND SAMPLES.

Sustainable Design Submittals, as described below:

1. Volatile organic compounds per volume as specified in PART 2 - PRODUCTS.

For composite wood products, submit documentation indicating product contains no added urea formaldehyde.

Shop Drawings: show design and installation details.

Manufacturer's Literature and Data:

Handrail/Wall Guard Combinations.

Wall Guards.

Corner Guards.

Door/Door Frame Protectors.

High Impact Wall covering.

Test Report: Showing that resilient material complies with specified fire and safety code requirements.

Manufacturer’s qualifications.

Installer’s qualifications.

Manufacturer’s warranty.

## DELIVERY AND STORAGE

Deliver materials to the site in original sealed packages or containers marked with the name and brand, or trademark of the manufacturer.

Protect from damage from handling and construction operations before, during and after installation.

Store in a dry environment of approximately 21 degrees C (70 degrees F) for at least 48 hours prior to installation.

## WARRANTY

Construction Warranty: Comply with FAR clause 52.246-21 “Warranty of Construction”.

Manufacturer Warranty: Manufacturer shall warranty their wall and door protection for a minimum of five (5 years from date of installation and final acceptance by the Government. Submit manufacturer warranty.

## APPLICABLE PUBLICATIONS

publications listed below form a part of this specification to extent referenced. publications are referenced in text by basic designation only.

ASTM International (ASTM):

A240/A240M-20	Chromium and Chromium-Nickel Stainless Steel Plate, Sheet, and Strip for Pressure Vessels and For General Applications

B221-14	Aluminum and Aluminum-Alloy Extruded Bars, Rods, Wire, Profiles, and Tubes

B221M-13	Aluminum and Aluminum-Alloy Extruded Bars, Rods, Wire, Profiles, and Tubes (Metric)

D256-10(2018)	Determining the Izod Pendulum Impact Resistance of Plastics

D635-18	Rate of Burning and/or Extent and Time of Burning of Plastics in a Horizontal Position

E84-20	Surface Burning Characteristics of Building Materials

Aluminum Association (AA):

DAF 45-09	Designation System for Aluminum Finishes

American Architectural Manufacturers Association (AAMA):

611-14	Voluntary Specification for Anodized Architectural Aluminum

Code of Federal Regulation (CFR):

40 CFR 59(2020) Subpart D	 National Volatile Organic Compound Emission Standards for Architectural Coatings

The National Association of Architectural Metal Manufacturers (NAAMM):

AMP 500-06	Metal Finishes Manual

National Fire Protection Association (NFPA):

80-2019	Standard for Fire Doors and Other Opening Protectives

SAE International (SAE):

J 1545-2014-10	Instrumental Color Difference Measurement for Exterior Finishes, Textiles and Colored Trim.

Underwriters Laboratories Inc. (UL):

Annual Issue	Building Materials Directory

PRODUCTS

## MATERIALS

Stainless Steel: A240/A240M, Type 304.

Aluminum Extruded: ASTM B221M (B221), Alloy 6063, Temper T5 or T6. Provide aluminum alloy used for colored anodizing coating as required to produce specified color.

Resilient Material:

Provide resilient material consisting of high impact resistant extruded acrylic vinyl, polyvinyl chloride, or injection molded thermal plastic conforming to the following:

Minimum impact resistance of 960.8 N-m/m (18 feet-pounds/square inch) when tested in accordance with ASTM D256 (Izod impact, feet-pounds per inch notched).

Class 1 fire rating when tested in accordance with ASTM E84, having a maximum flame spread of 25 and a smoke developed rating of 450 or less.

Rated self-extinguishing when tested in accordance with ASTM D635.

Provide material labeled and tested by Underwriters Laboratories or other approved independent testing laboratory.

Provide resilient material for protection on fire rated doors and frames assemblies that is listed by the testing laboratory performing the tests.

Provide resilient material installed on fire rated wood/steel door and frame assemblies that have been tested on similar type assemblies. Test results of material tested on any other combination of door and frame assembly are not acceptable.

Provide integral color with colored components matched in accordance with SAE J 1545 to within plus or minus 1.0 on the CIE-LCH scales.

## CORNER GUARDS

Resilient, Shock-Absorbing Corner Guards: Surface mounted type.

snap-on corner guard formed from resilient material, minimum 1.98 mm (0.078-inch) thick, free floating on a continuous 1.52 mm (0.060-inch) thick extruded aluminum retainer. // Retainer used for flush mounted type to act as a stop for adjacent wall finish material. Provide appropriate mounting hardware, cushions and base plates as required.

Profile: Minimum 50 mm (2 inch) long leg and 6 mm (1/4 inch)

- corner radius 76 mm (3 inch) long leg and 6 mm (1/4 inch) or corner radius 76 mm (3 inch) long leg and 32 mm (1-1/4 inch) corner radius.

Height: 1.22 m (4 feet).

Retainer Clips: Provide manufacturer’s standard impact-absorbing clips.

Provide factory fabricated end closure caps at top and bottom of surface mounted corner guards.

Flush mounted corner guards installed on any fire rated wall to be installed in a manner that maintains the fire rating of the wall. Provide fire test of proposed corner guard system to verify compliance.

Where insulating materials are an integral part of the corner guard system, provide insulating materials furnished by the manufacturer of the corner guard system.

Fabricate stainless steel corner guards of 1.27 mm (.05 inch) thick material conforming to ASTM A240/A240M, Type 304. Install corner guards from floor to ceiling as indicated on construction documents.

- Form corner guard to dimensions shown on construction documents.

## WALL GUARDS AND HANDRAILS

Resilient Wall Guards and Handrails:

Handrail/Wall Guard Combination:

Snap-on covers of resilient material, minimum 2 mm (0.078-inch) thick.

Free-floating on a continuous, extruded aluminum retainer, minimum 1.82 mm (0.072-inch) thick.

Anchor to wall at maximum 762 mm (30 inches) on center.

Wall Guards:

Snap-on covers of resilient material, minimum 2.54 mm (0.100-inch) thick. Free-floating over 51 mm (2 inch) wide aluminum retainer clips, minimum 2.28 mm (0.090-inch) thick, anchored to wall at maximum 610 mm (24 inches) on center, supporting a continuous aluminum retainer, minimum 1.57 mm (0.062-inch) thick free-floated over a continuous extruded aluminum retainer, minimum 2.03 mm (0.080-inch) thick anchored to wall at maximum 610 mm (24 inches) on center.

Provide handrails and wall guards with prefabricated end closure caps, inside and outside corners, concealed splices, cushions, mounting hardware and other accessories as required. End caps and corners to be field adjustable to assure close alignment with handrails and wall guards. Screw or bolt closure caps to aluminum retainer in a concealed manner.

Aluminum Wall Guards: Extruded aluminum, closed tubular bumper assembly mounted on wall brackets.

Provide wall bumper with factory fabricated end closure caps, and inside and outside corner assemblies, concealed splice plates, and other accessories standard with the manufacturer.

Fabricate tubular wall guards from material with a nominal wall thickness of 6.35 mm (0.250-inch), form grooves for and provide two (2) strips of continuous polyvinyl chloride cushion bumper inserts.

Fabricate adjustable wall brackets from aluminum having a nominal wall thickness of 5.08 mm (0.20-inch). Fasten bumper to brackets with 6.35 mm (1/4-inch) diameter aluminum or stainless steel bolts with locknuts.

Stainless Steel Wall Guards: Construct wall guard, including brackets, of minimum 4.76 mm (0.1875-inch) thick stainless steel.

## DOOR AND DOOR FRAME PROTECTION

Fabricate door and door frame protection items from vinyl acrylic or polyvinyl chloride resilient material, minimum 1.52 mm (0.060-inch) thick, for doors and 0.89 mm (0.035-inch) thick for door frames.

Provide adhesive as recommended by resilient material manufacturer.

## HIGH IMPACT WALL COVERING

Provide wall covering/panels consisting of high impact rigid acrylic vinyl or polyvinyl chloride resilient material.

Panel sizes to be 0.61 x 1.21 meter (2 x 4 feet).

Submit fire rating and extinguishing test results for resilient material.

Submit statements attesting that the items comply with specified fire and safety code requirements.

Rigid Vinyl Acrylic Wall Covering: Wall covering thickness to be 1.52 mm (0.060 inch).

High Impact Wall Panels: Wall panel face and edge thickness to be 0.56 mm (0.022 inch). Panel face to be factory banded to a 9.53 mm (0.375 inch) thick fiberboard core. The backside of the panel is to be laminated with a moisture resistant vapor barrier.

Provide adhesive as recommended by the wall covering manufacturer. Provide adhesive with VOC content of 250 g/L or less when calculated according to 40 CFR 59, (EPA Method 24).

## FASTENERS AND ANCHORS

Provide fasteners and anchors as required for each specific type of installation.

Where type, size, spacing or method of fastening is not shown or specified in construction documents, submit shop drawings showing proposed installation details.

## FINISH

Aluminum: In accordance with AA DAF-45.

Exposed aluminum: AAMA 611 AA-M12C22A31 chemically etched medium matte, with clear anodic coating, Class II Architectural, .01 mm (0.4 mil) thick. AAMA 611 AA-M12C22A32 chemically etched medium matte with integrally colored anodic coating, Class II Architectural .01 mm (0.4 mil) thick.

Concealed aluminum: Mill finish as fabricated, uniform in color and free from surface blemishes.

Stainless Steel: In accordance with NAAMM AMP 500 finish Number 4.

Resilient Material: Embossed textures and color in accordance with SAE J1545.

INSTALLATION

## RESILIENT CORNER GUARDS

Install corner guards on walls in accordance with manufacturer's instructions.

## STAINLESS STEEL CORNER GUARDS

Mount guards on external corners of interior walls, partitions and columns as shown on construction documents.

Where corner guards are installed on walls, partitions or columns finished with plaster or ceramic tile, anchor corner guards as shown on construction documents. Provide continuous 16 gauge perforated, galvanized Z-shape steel anchors welded to back edges of corner guards and wired to metal studs expansion bolt to concrete or masonry with four 9.52 mm (3/8-inch) diameter bolts, spaced 406 mm (16 inches) on centers. Coat back surfaces of corner guards, where shown on construction documents, with a non-flammable, sound deadening material. Corner guards to overlap finish plaster surfaces.

Where corner guards are installed on exposed structural glazed facing tile units or masonry wall, partitions or columns, anchor corner guards as shown on the construction documents anchor corner guards to existing walls with 6.35 mm (1/4-inch) oval head stainless steel countersunk expansion or toggle bolts anchor corner guards with four nominal 1.37 mm (0.0516-inch) thick, adjustable galvanized steel anchors, spaced as shown on construction documents. Grout spaces solid between guards and backing with Portland cement and sand mortar.

Where corner guards are installed on gypsum board, clean surface and anchor guards with a neoprene solvent-type contact adhesive specifically manufactured for use on gypsum board construction. Remove excess adhesive from around edge of guard and allow curing undisturbed for 24 hours.

## RESILIENT wall guards

Secure guards to walls with brackets and fasteners in accordance with manufacturer's details and instructions.

## ALUMINUM WALL GUARDS

Secure brackets to walls with fasteners, spaced in accordance with manufacturer's installation instructions.

## STAINLESS STEEL WALL GUARDS

Space brackets at not more than 914 mm (3 feet) on centers and anchor to the wall in accordance with manufacturer's installation instructions.

## DOOR, DOOR FRAME PROTECTION AND HIGH IMPACT WALL COVERING

Surfaces to receive protection to be clean, smooth and free of obstructions.

Install protectors after frames are in place but preceding installation of doors in accordance with approved shop drawings and manufacturer’s specific instructions.

Apply with adhesive in controlled environment according to manufacturer’s recommendations.

Protection installed on fire rated doors and frames to be installed according to NFPA 80 and installation procedures listed in UL Building Materials Directory; or, equal listing by other approved independent testing laboratory establishing the procedures.

- - - E N D - - -