September 21, 2022

To all Contractors

RE: RESORT WORLD CASINO CROCKFORDS CASINO

**RFI#1**

Please clarify there is no first floor demo plumbing drawing and clarify

There is no ductwork on the second floor (there is no drawing)

Is there any ductwork on drawing M-5 first floor?

Thank You

Karen Panarella