## Sitework
| Sitework |  | Sub Name/Contact:
| Regeneron TT CX Childcare Facility |  | CONSIGLI
CONTRACT DOCUMENTS
Drawings prepared by: Gensler dated 5.20.2022
Specifications prepared by: Gensler dated 5.20.2022 including:
Section 02 30 00 - SUBSURFACE INVESTIGATION
Section 02 41 13 - SELECTIVE SITE DEMOLITION
Section 03 30 53 - MISCELLANEOUS CAST-IN-PLACE CONCRETE
Section 26 05 30 - Wiring Methods
Section 26 56 00 - EXTERIOR LIGHTING
Section 31 10 00 - SITE PREPARATION
Section 31 11 00 - CLEARING AND GRUBBING AND SELECTIVE TREE AND SHRUB REMOVAL
Section 31 14 13 - EARTH STRIPPING AND STOCKPILING
Section 31 22 13 - GRADING AND SUBGRADE PREPARATION
Section 31 23 16 - EXCAVATION, TRENCHING AND BACKFILLING INCLUDING ROCK REMOVAL AND DEWATERING
Section 31 23 23 - FILL
Section 31 32 00 - STORMWATER BASIN MAINTENANCE PATH
Section 31 37 00 - RIP RAP ENERGY DISSIPATOR
Section 31 61 00 - Footings
Section 32 11 16 - SUBBASE COURSES INCLUDING AGGREGATE BASE COURSES
Section 32 12 16 - ASPHALT PAVING
Section 32 13 13 - CONCRETE PAD / BASE
Section 32 13 16 - COLORED CONCRETE PAVEMENT - ALTERNATE TWO
Section 32 14 13 - PRECAST CONCRETE UNIT PAVING - ALTERNATE ONE
Section 32 15 40 - CRUSHED STONE SURFACING
Section 32 16 00 - CURBS AND SIDEWALKS
Section 32 17 23 - PAVEMENT MARKINGS AND SIGNS
Section 32 31 00 - FENCING
Section 32 31 13 - CHAIN LINK FENCES AND GATES
Section 32 33 23 - SITE TRASH ENCLOSURE
Section 32 39 13 - BOLLARDS
Section 32 91 13 - SOIL PREPARATION FOR LANDSCAPING
Section 33 00 00 - MISCELLANEOUS UTILITIES
Section 33 10 00 - WATER UTILITIES
Section 33 30 00 - SANITARY SEWERAGE
Section 33 40 00 - STORMWATER UTILITIES
Section 33 42 01 - GRASSED SWALE
Addenda prepared by: Gensler
Addendum __ dated __________
Compliance with all Division 0 and 1 specifications as applicable.
X |  | Compliance with Owner's contract
X |  | Compliance with Consigli contract
Consigli Supplemental Attachment A - Schedule
Consigli Supplemental Attachment B - Logistics Plan
Consigli Supplemental Attachment C - Lean Requirements
Consigli Supplemental Attachment D - Quality Plan
Consigli Supplemental Attachment E - Textura Construction Payment Management System Information
Consigli Supplemental Attachment F - Project Safety Requirements
Consigli Supplemental Attachment G - 3D Coordination Specification (as applicable to this trade)
Consigli Supplemental Attachment H - COVID-19 Site Specific Safety Plan
Consigli Supplemental Attachment J - Zero Tolerance for Harassment or Bias
SCOPE OF WORK
GENERAL
Provide all labor, materials, and equipment as required to complete the scope of work as shown on the drawings, and as further described below.
Specific items identified below are intended as a reference for scope only. Subcontractor is responsible for providing all items for their work and related work shown on the drawings, as specified, or needed to make this scope of work complete.
Inclusion of all reference keynotes and general notes shown on drawings, as applicable to this trade.
Traffic & Regulatory Signage (Site)
| 28/C903 | Furnish & install all site signage as shown & specified.
| 18/C902 | Includes all concrete bases and footings
Erosion & Sedimentation Controls
F&I erosion control barriers
| 1/C900 | Includes silt fence
| 5/C900 | Includes plastic construction fence
| 39/C905 | Includes temporary construction ditches
| 34/C904 | Includes temporary sediment traps and outlet controls
| 3&4/C900 | Inlet protection at catch basins
Protect & cleanout catch basins
| 6/C900 | Stabilized construction entrances and tracking pads
Temporary protection of soil & erosion
Includes provisions to comply with erosion control requirements
| C-400 Sequence Note 2 | Provide protection around all future stormwater practices to be protected. No construction material, fill material, or heavy objects shall be placed in these designated areas
| C-400 Sequence Note 5 | Temporary sediment traps and outlet pipes. Limit sediment traps to 5 acre drainage area and must be cleaned when half sediment storage volume is reached
| C-400 Sequence Note 10 | Concurrent construction operations in multiple drainage areas shall not be permitted until each drainage area is stabilized to the satisfaction of the engineer/owner
| C-400 Sequence Note 11 | All sediment trap risers, outlet pipes, etc. shall be removed and existing piping connections to permanent structures to be repaired/sealed at completion
Includes dust control
Includes maintaining during construction & removal at the end of construction for all erosion & sediment control measures
Site Clearing/Site Demolition
Tree protection & tree protection fence
Includes tree wells as required
Clearing & grubbing of site
Stripping & stockpiling of existing topsoil
Site demolition as shown/required
Tree and stump removals
| C-020 | Protect existing 12" and 24" RCP drain pipes as well as 30" HDPE drain pipes as noted. Video inspect pipe prior to construction, perform any required repairs, and re-inspect at completion of project
General Earthwork
Includes all cut, removal & import of fill as required & specified, to achieve proposed grades & subgrades as indicated
Export of excess soils and disposal per all AHJs
Interim grading and required temporary erosion and drainage control measures to achieve all project phasing
Subgrade preparation
Includes subgrades for buildings
Includes subgrades for pavement, walks, pads, pavers, improvements, etc.
Includes subgrades for utility trenches
Includes subgrades for landscaped areas
Coordinate with owners testing agency for compaction
Preparation of access roads for cranes by steel subcontractor
Rock/ledge removal as required to establish all proposed subgrades
IDENTIFY METHOD OF ROCK REMOVAL INCLUDED
Rock excavation shall be carried to a minimum level of six (6) inches below subgrade surface and shall be removed a minimum level of three (3) feet in planting areas. The subgrade shall then be brought to a smooth subgrade surface with suitable, approved material and compacted to the specified density
All layout will be performed by this contractor. CCC to provide a CADD file of the latest design documents to the contractor including control points & two benchmarks.
Furnish and install support of excavation system for building excavation and utility excavations as determined by this subcontractor
Provide a detailed narrative for the sequencing of support of excavations for building and utilities if required
Continuously monitor vibrations, settlements, and movements to ensure stability of excavations and constructed slopes and to ensure that damage to permanent structures is prevented.
Provide all protection, including sheeting and shoring, and temporary support, as necessary to prevent damage to existing utilities if required
Excavation & Backfilling
All excavating, trenching, filling & backfilling of all descriptions are to be furnished & installed, as required, for the construction of any & all, site structures, utilities, trenches, site foundations, concrete pads, walks & site-related items as shown & specified.
Excavation & backfilling for foundations
Remove existing fill as required
Include removal and disposal of all obstructions up to 1 CY in size
E&B for footings
Includes that the bottom of footing to be excavated deeper to add required stone for drainage below concrete.
Structural fill under foundations
Stone to be provided under all footings
Structural fill slabs on grade
Furnish & install underslab insulation
Furnish & install gravel bases for all SOG, asphalt pavement, sidewalks, and other site improvements
Compaction of subgrade & base materials
Preparation for placement of concrete sidewalks, dumpster pad area & other concrete areas as shown
Excavate & backfill for bollards
Excavate & backfill for underslab plumbing
Excavate & backfill for underslab drainage
Includes 12" drainage stone layer as required including geotextile fabric
Preparation of miscellaneous site pads
Dewatering
Provide any pumping & de-watering necessary to maintain excavated spaces free of water (local sumps/pits)
The on-site treatment of the dewatered groundwater shall be performed in accordance with the Town and/or State requirements prior to discharge. As applicable, the treatment system shall be setup in a manner to allow for the collection of pre- and post-treatment samples if required
The water from the excavations shall be filtered to catch sediment, and disposed of in such a manner as will not cause injury or damage to the public health, public or private property, nearby water courses, drainage ways, water impoundment areas, the work contemplated or in progress, surfaces of the streets, nor cause any interference with the use of the same. The disposal of this water shall be done in a manner satisfactory to the Site Engineer, the Geotechnical Engineer, and Authorities having jurisdiction
Provide surface dewatering as required for duration of Sitework Operations.
Design and engineering of proposed dewatering systems
EXCAVATED MATERIALS MANAGEMENT PLAN
Base bid to include trucking & disposal costs of soils. This subcontractor owns all quantities of soils per the contract documents (Civil Plans & Specifications along with the pre-characterization report, whichever is greater).
Aggregate and/or flow fill brought onto the site for temporary use (ie crushed stone to provide a proper working surfaces) shall be removed & disposed of as part of the lump sum cost.
Site Utilities (General)
Include all street opening permits and fees as required
Include all required connection and inspection fees
Provide all traffic management and police details as required
Include All utility protection and support systems as required to protect existing street utilities in order to properly perform the scope of this subcontract.
Sawcut asphalt (as applicable for your work scope)
Remove and dispose of asphalt to full depth
Replace gravel road base
Furnish and install temp and permanent asphalt patch as required for trench work
Replace any removed/damaged pavement markings
Replace any removed/damaged sidewalks / curbs
Restore temporary gravel parking lots disturbed during utility tie-in work
Electrical/Communications Utilities
Excavate & backfill for primary electrical - concrete encased, rebar enforced
Verify existing ductbank location prior to E&B of new ductbank. Electrical conduit to be relocated if in conflict with new ductbank
Excavate & backfill for generator conduits
Excavate & backfill for EV charger conduits
Excavate & backfill for all underground/underslab electrical & ductbanks
| 3/E050 | Ductbank concrete and reinforcement as shown/required for primary & secondary ductbanks
| 260530 - 2.5D | Includes red concrete as specified
Connect to existing ductbank as noted
Excavate & backfill conduit to monument signs
Excavate & backfill IT conduits
| 1&2/E050 | Furnish & install electrical & telephone manholes
F&I handholes / pullboxes, E&B
Excavate & backfill & sand bedding for site lighting
Excavate & backfill for light pole bases
F&I light pole bases
Water Utilities:
Installation of water mains consisting of pipes, valves, thrust blocks, & all necessary & required accessory items & operation
Connect to existing water main as shown including all necessary valves, tees, and gates as required including all testing
Includes new 4" fire service line and associated appurtenances
Includes new 3" domestic water line and associated appurtenances
Sterilization & testing of new water facilities
Provide all required connection and inspection fees per local AHJ
Sanitary Sewerage Utilities:
Provide all labor, equipment, implements, & materials required to furnish, install & construct sanitary sewers consisting of manholes, structures, pipe, cleanouts, laterals, wye connections, & all necessary & required accessory items & operations as shown & specified.
Connect new sanitary service to existing manhole as shown. Relocate manhole stairs and repair manhole as required
Includes all sanitary piping
| 10&11 / C901 | F&I sanitary manholes
| 50/C906 | F&I sanitary cleanouts
Includes all excavation, bedding, backfill, etc. for sanitary sewerage utilities
Stormwater
Provide all labor, equipment, implements & materials required to furnish, install & construct the storm drainage system & related appurtenances complete as shown on the Drawings & as specified herein.
| 31/C904 | Includes establishment of stormwater management areas (pocket ponds / bio-retention areas) as shown
Includes establishment of maintenance paths to stormwater management areas as shown
Includes all stormwater drainage piping
| 29/C903 | Includes all finger drains
Includes all foundation / footing drains
Includes subslab drainage system including all piping, stone, and geotextile fabric
Includes underdrain system beneath playground
| C-300, Note 10 | Raise existing rim elevations on noted manholes. Convert existing solid covers to open grates as noted
Includes all cutoff drains, backwater valves, and discharges
Includes trench drain along playground
| 14/C902 | Includes all outlet control structures
| 16/C902 | Includes all concrete headwalls
| 33/C904 | Includes all rip rap aprons / energy dissipators
| 12&13 / C901 | Includes all drain inlets - types CI and DI
| 10&11 / C901 | Includes all drainage manholes
| 50/C906 | F&I storm cleanouts
Includes pond drainage 18" stone blanket and geotextile fabric as shown
Includes all required stone and fabrics around drainage system as required
Includes all excavation, bedding, backfill, etc. for stormwater utilities
| 19/C902 | Includes all grassed swales
| 46/C905 | Includes stone check dams
Testing & cleaning of storm drain system
Site Improvements
Includes furnish & installation of vehicle barriers & site improvements as shown & listed below:
| 32/C904 | F&I concrete-filled pipe bollards
Includes concrete footing for bollards
Vehicle Barriers/Fencing
Includes furnish & installation of fencing as shown & listed below:
| 30/C904 | F&I generator enclosure
Includes gravel base and subbase
Includes concrete pads for generator and load bank
Includes steel posts and rails for enclosure
Includes Trex cladding
Includes gates and operating hardware
| 30/C904 | F&I trash enclosure
Includes concrete pad and footings
Includes steel posts and rails for enclosure
Includes Trex cladding
Includes gates and operating hardware
| 48/C906 | F&I chain link fencing
Includes all posts, rails, fabrics, accessories
Includes concrete footings
Includes gates and operating hardware
Included at stormwater management area (pocket pond)
Included at playground perimeter
Includes concrete curb at playground perimeter
Base Courses
Includes gravel base for paving
Includes gravel base for site concrete
Includes gravel base for curbing
Includes gravel base for unit pavers
Includes gravel base for playground surfacing
Compaction of subgrade & base courses
Fine grading as required
Paving
Includes all paving as shown & specified
| 24/C903 | F&I all asphalt pavement
Includes all binder and top courses
F&I all site concrete pavement
| 27/C903 | Includes all sidewalks
Base bid includes entry area noted as pavers as concrete sidewalk
| 26/C903 | Includes all sidewalks with monolithic curbs
| 26/C903 | Includes all sidewalks against playground
Includes forming for trench drain and setting of trench drain provided by others
Includes all reinforcement
| 26/C903 | Includes 2" rigid insulation beneath building perimeter sidewalks
| 47/C906 | F&I all crushed stone surfacing
Includes filter fabric and geogrid
Includes base course, geoweb course, wear course
F&I all crushed stone surfacing
Trench patching at street utility tie-ins
Pavement Markings
Includes preparation & application of painted pavement markings as shown & specified.
Curbs
Includes all curbing including back-up as shown & specified
| 36/C904 | F&I mountable concrete curbs
E&B for poured in place concrete curbing
| 23/C903 | Form & place CIP concrete curbing
| 35/C904 | Includes exposed concrete curbs
| 25/C903 | Includes all drop curbs and ramps
Includes detecable warning surfacing
Miscellaneous
Visited site
All piping to within 5 feet of building
Include all permits, licenses & fees required for the work of this trade
Street sweeping as required: Maintain street daily while on site, trucking & working
Provide police details & traffic management barriers required to complete this work
Review & comply with geotechnical report & test pit data
Warning & tracer tape
Coordinate testing & inspections with local authorities as is required
Includes pre-op meeting with local municipalities as required
Includes installation of all utilities in strict accordance with local utility providers.
Includes access into foundation footprint every 50 feet
Maintenance of SWPPP (preparation of SWPPP by Owner's Civil Engineer)
As-builts with engineers stamp
Includes generator for work as required.
Includes traffic controls as necessary for this work (flagmen, barriers, barrels, etc.)
Clean up to dumpster (dumpsters provided by Consigli)
All miscellaneous materials as required to complete scope
QUANTITIES
Manhours
Cut to Fill
Cut to Export
Total soil disposal
Imported Fill
Rock / Ledge - Open Cut
Rock / Ledge - Trench
Drainage Pipe
Water Utilities
Sewer Pipe
Electrical Ductbank
Telecom Ductbank
BREAKOUT VALUES ($$ - included in values above)
Dewatering
Soil export and disposal
Asphalt pavement
Site concrete
Generator enclosure
Trash enclosure
Fencing
Capital improvement sales tax (tax on materials)
ADDITIONAL PROJECT-SPECIFIC REQUIREMENTS
Capital improvement sales tax (tax on materials)
All manufacturers, materials and finishes as shown and specified.
Includes performance and quality requirements as specified.
X |  | Includes all submittals, shop drawings, warranties, etc. as specified and required.
X |  | Layout from control provided by GC.
X |  | Includes all field measurements as required.
All hoisting and rigging of equipment and materials as required to complete the work of this Subcontract.
All equipment including staging/ladders/lifts etc. as required to complete the work of this trade.
Any additional electrical requirements in order to perform own work including task lighting, special power requirements, generator, etc. The electrical contractor shall provided temporary construction lighting and power within OSHA standards
X |  | Includes protection of all materials/equipment supplied by this subcontractor, stored on site.
All protection of adjacent work surfaces as required and repair of adjacent surfaces if damaged or disturbed during own work
X |  | 6'0" fall protection.
Provisions for off-hour work as required.
Temp. shutdowns of existing systems (work arounds), as required for completion of the work of this trade, Including off-hours work (if applicable).
X |  | Inclusion of all materials & labor price increases for the duration of the project.
Inclusion of any and all tariffs in place, and known about, as applicable, at the time of a signed contract agreement.
Includes LEED requirements as specified.
X |  | All offsite storage costs required for the completion of work of this trade.
Complete work of this trade as shown on all contract documents including A's, S's, MEP's etc.
All permits, licenses and fees as required to complete all work of this trade
This subcontractor shall be responsible for clean-up of trash and debris to CM provided dumpsters on a daily basis as well as sorting and separating of waste for recycling
Provisions for compliance with all Codes, Rules and Regulations
Complete work in accordance with OSHA Regulations (OSHA 10 training for all installers)
Mandatory attendance at pre-construction meeting (2) weeks prior to start of project
Subcontractor has included all cost required to conform with the CCC COVID-19 site-specific safety plan including, but not limited to, manpower and crew modifications, PPE requirements, testing requirements etc., in order to stay in strict compliance while performing all work on site.
All trades are responsible for providing their own penetrations, coring, cutting, sleeves, etc. regardless of size or location. This subcontract is responsible for sealing their own penetrations matching the requirement for fire / smoke ratings of wall / ceiling / floor being penetrated
Provide any required shoring or bracing in order to complete own work. Subcontractor shall retain the services of a professional engineer to design and supervise the installation of any required underpinning, shoring, bracing, etc. if required to complete the scope of work
Provisions to assist Owner's 3rd party testing & inspection agency as required
Provisions to assist Owner's commissioning agent as required
All requisitions are to be done on Textura software.
EXCLUSIONS
Temporary site construction fence
Landscaping
Fine grading of loam
Underslab vapor barrier
SCHEDULE REQUIREMENTS
Lead Times
Samples
Submittals
Shop drawings
Materials (from approval)
Schedule of work per Consigli Supplimental Attachment A - Schedule
Includes all mobilizations as required
Provisions for phasing as required
ADDITIONAL QUALIFICATIONS AND REQUIREMENTS
Contract Terms & Conditions
Review CCCI contract terms & conditions?
Agree with standard subcontract language?
Payment terms: PAY WHEN PAID, 5% retainage
Insurance Coverages and Safety
Capable of providing insurance coverages as required
General Liability: $1 mil, $2 mil general aggregate
GL aggregate limit is per project, not per policy
Riggers Liability (as applicable to trades): $1 mil
Automobile: $1 mil
Umbrella Liability as follows:
Structural Steel: $15 mil
Glass & Glazing, Fire Protection, Plumbing, HVAC, Electrical: $10 mil
All other trades: $5 mil
Worker's Comp
Professional Liability: $2 mil (for design/stamped drawings and testing scope's only)
All insurance certificates must:
Have 30 Day Notice of Cancellation Endorsement attached
Name Consigli Construction Co., Inc., Owner and any other parties as required by contract, as additional insured.
.
ALTERNATES
| ADD | Unit Paver Alternate #1 (C-906)
Includes entry area as unilock artline pavers as specified in lieu of standard concrete sidewalk
Includes gravel subbase
Includes 4" concrete base slab and all reinforcement
Includes setting bed and adhesives
| ADD | Unit Paver Alternate #2 (C-906)
Includes entry area as colored concrete pavement as specified in lieu of standard concrete sidewalk
Includes score lines in patterns indicated
| ADD | Playground Alternate #1 (L-102)
Includes additional prep for landscape beds around playground
| ADD | Playground Alternate #5 (L-104)
Includes setting of carbon symbols provided by others into concrete sidewalks
| ADD | Playground Alternate #6 (L-104)
Includes two (2) panels of playground perimeter chain link fencing as STEAM graphic panels as specified
UNIT PRICES
Foreman billable rate (Includes OH&P)
Journeyman billable rate (Includes OH&P)
Foreman billable rate (Includes OH&P)
Journeyman billable rate (Includes OH&P)
Street sweeping - 4 minimum hour per
Trench ledge removal, disposal & replacement with granular fill (mechanical)
Open ledge removal, disposal & replacement with granular fill (mechanical)
Large excavator w/hammer
Removal, transportation & disposal of unrestricted, unregulated soil
Removal, transportation & disposal of soil (<RCS-1)
Removal, transportation & disposal of soil (in-state unlined landfill)
Removal, transportation & disposal of soil (in-state lined landfill)
Removal, transportation & disposal of soil (out of state landfill)
Removal, disposal & replacement of existing fill material
Granular fill furnished, installed & compacted - Additional
Granular fill furnished, installed & compacted - Reduction
Structural fill
Bedding stone
Bedding sand
Liquid Asphalt Rate
Lean concrete
Level C PPE per person per day