October 20, 2022

Rockland Green

172 Main Street

Nanuet, NY 10954

Attn: Dee Louis

Re: Booster Pump Station Facility Upgrades – Thorne Valley Road - Hillburn, NY – Request for Information

Dee,

Following are some questions on the above project:

**Bid Item A-1 –** Are we piping the air relief valve vent somewhere or just leaving it open?

**Bid Item A-3** – Calls for 4” steel pipe. Is that schedule 40 or schedule 80 carbon steel? Or should it be ductile iron?

Calls for (3) ½” stainless steel ball valves. Not sure what they are for.

**Bid Item A-4** – Spec calls for all new 316 SS pipe and fittings, drawing shows galvanized pipe. Which is it?

**Bid Item A-5** – Is there a spec for the contractor furnished gate valves? Is it the same as the specified valve in A-3?

Thank you.

Matthew Gallmann

Email : [mgallmann@josephlombardo.com](mailto:karen@josephlombardo.com)

Phone # 845-357-6537 Ex:1210

Fax # 845-357-8529