August 26, 2021

Monster Golf Course

At Resorts World Catskills

Kiamisehia, NY

RFI #3

In reference to drawing P-111, regarding the grease interceptor on the exterior of the bldg, it appears to be incorrectly piped. I believe an addendum will be issued to show the correct underground path the kitchen sanitary will take.

Please advise

Tony Paradiso