Rye CSD Midland Elementary

August 12, 2021

RFI #1

In reference to drawing H3-201 refrigeration piping diagram, can you provide us with the proper pipe sizes from the roof to the distribution boxes to the A//C units.

Please advise

Thank you

Tony Paradiso