## Sheet1
McAlpine Contracting Co. – Scope of Work Breakdown |  | Project: Braemar at Montebello Assisted Living Residence
Subcontract #15C - MECHANICAL |  | Address: 250 Lafayette Ave Montebello, New York 10901 |  |  | INCLUDED
Trade: Mechanical |  |  |  |  | NOT INCLUDED
Sub-Contractor: COMPANY NAME
|  | QUALIFY | YES / NO | COMMENTS
1 | McAlpine Contracting Co. Standard Subcontractor Agreement Terms & Conditions agreed (no exceptions)
2 | Exhibit A - Subcontract Scope of Work Breakdown (This document)
3 | Exhibit B - Blanket Required Insurance Agreement / Sample ACORD Insurance Certificate
4 | Exhibit C - Hold Harmless Agreement
5 | Exhibit D - Drawings and specifications Index
6 | Exhibit E - Project Schedule
7 | EXHIBIT F - AIA G702/G703 forms – REQUIRED FOR PAYMENTS!
8 | EXHIBIT G - MCC Site Safety Program / Requirements
9 | EXHIBIT H - MCC COVID-19 Safety Action Plan
10 | EXHIBIT I - W-9 Form
11 | EXHIBIT J - NY State ST-ST-119.1, Exempt Organization Exempt Purchase Certificate
12 | Include own means of access to high areas throughout the entire building (scaffolding, bakers, and/or lifts for your own work) all scaffold to be accompanied by a PE drawing.
13 | Include all project management, labor & material.
14 | Labor rate sheet and unit rate sheets to be submitted with the bid
15 | Mark-ups on extra / additional works are not to exceed 10%
16 | Close-out documents & maintenance data - project specific to be submitted within 30 days of project completion
17 | All own waste/debris to be placed in containers provided by others
18 | This project is tax exempt
19 | Qualification Notes:
20 | All workers associated to this trade must have a minimum of OSHA 10 Card
21 | Confirm this sub-contractor attended a walkthrough of the space to determine full extent of work required.
22 | Confirm subcontractor has received, reviewed, and included MCC's schedule
23 | All work to be performed 5 days per week and Overtime if needed to meet schedule
24 | All employees of this subcontractor to provide full ID to MCC prior to entering site
25 | Provide all permits for own work, building permit by owner, if require to perform your scope
26 | Must be licensed to work in rockland county
27 | Insurance
28 | Exhibit B - Insurance requirements received and confirmed. Dated:
29 | I confirm that I have reviewed the insurance requirements in detail and can meet all necessary requirements “per Exhibit B” as these will form part of the contract including (but not limited to):
30 | General Liability- Each Occurrence | 1000000
31 | Auto Insurance | 1000000
32 | Umbrella - Each Occurrence | 5000000
33 | Workers Comp | 1000000
34 | Subcontractor is to include payment and performance bonds, as determined by Construction Manager, and shall include the Owner as a co-obligee.
35 | The following forms are required:
36 | Specified Additional Insured Endorsements (CG 2010, CG 2037 & CG 2404 or their equivalents) listing all additional insured.
37 | Full GL and Umb policies if possible (premiums crossed out or redacted).
38 | GL and WC (showing NY listed ) declaration pages.
39 | Confirmation that the policy form language illustrates AI, WOS, PNC, NOC, and schedule of all underlying insurance.
40 | All project documentation (i.e. RFI, submittals, change orders etc.) should be initiated through Procore for approval.
41 | Submittals
42 | All submittals to be submitted to MCC, via Procore and Or Newforma® Project Center website, immediately after contract award in order to be approved for installation.
43 | Drawings
44 | Sketches are schematic representation only ATC to provide control and monitoring points and sequesnces as outlined in DIV. 250000,2 30900 and 230993
45 | Sketch all duct & piping and coordinate all other trades per architectural plans, "Drawings are only schematic and final coordination will be done during shop drawings phase and responsibility of this subcontractor.
46 | Assume to sketch complete system again after initial marked up set of shop drawings, a full on site review with the architect & engineer to relocate all duct, pipes, units, etc. will take place to finalize all locations, a fully coordinated set of plans will be produced by this sub-contractor, include for coordinating with all other trades.
47 | All conflicts are to be flagged - do not proceed until conflicts are resolved via a coordination meeting on site - if an engineer marks up "coordinate with GC - approved as noted" then do not release without a site review meeting.
48 | Field verify all approved shop drawings before release of shop drawings into fabrication - coordinate with all other trade materials and locations - approved as noted shop drawings does not constitute release without regard for other trades - any costs for hits with other trades which are clearly shown on plans will not constitute a valid change order.
49 | Include for all clearances and service requirements in the coordination of design.
50 | Mechanical and BMS Scope
51 | ALL EQUIPMENT TO BE SUPLLY BY KLIMA AND INSTALL BY MECHANICAL SUBCONTRACTOR. ALL BMS AND CONTROLS TO BE FUNISH AND INSTALL BY KLIMA
52 | Shop Drawings for all floors/roof/site
53 | Field measurements of piping for sizing purposes
54 | MEP coordination drawings/drafting/BIM modeling
55 | Provide Submittals/ cutsheets
56 | BMS System/equipment-panels/controls/interlock-termination control wiring/programming/thermostats/sensors- by others
57 | VRF (ACCU B-1, B-2, B-3, B-4,B-5, 1-1, 1-2, 1-3, 1-4,1-5,1-6,1-7,1-8,1-9, 1-10, -2, 2-1, -3, 4-1,4-2) | H8.5, H8.1
58 | Heat Recovery system | H7.3/Detail 4
59 | Heat Pump Condenser (tag:ACCU -1-10, 4-1, and 4-2) | H8.1
60 | Ducted Fan coil units | H7.2/ detail 1
61 | Heat pump slipt system (AC-1, -2, -3,-4, & -5) - | H8.1
62 | Heat recovery box- Furnish by others
63 | FCU Programmable Thermostat
64 | Packaged Terminal AC units ( Tag: PTAC- 1, -2, -3,-4 &-5) | H8.1,- Note:PTACC to operate as stand alone & separate of BMS
65 | Energy Recovery Ventilators ( Tag: ERV-1,-2,-3 &-4) | H8.1, H7.5/Detail 5,6,7,8,9,and 10.
66 | Exhaust Fans (EF-1 thur -12) | H8.1, H7.3/Detail 5
67 | FURNISH AND INSTALL BY THIS SUBCONTRACTOR
68 | Hydronic Piping | SKH1.0A,SKH1.0B, SKH1.1A,SKH1.1B,SKH1.2A,SKH1.2B,SKH1.3ASKH1.3B,SKH1.4A, and SKH1.4B
69 | Condensate Piping
70 | Condensate Pumps
71 | Unit Heater (UH -1 & -2) | H8.1
72 | Air Transfer Duct | H7.2/detail 6
73 | Diffusers (CD -1 thru -7, SG -1 thru -3) | H8.1
74 | Return/ Exahust Grills (RG- 1 thru -13, EG -1 thru EG-11) | H8.1
75 | 4" Dryer Exhaust -FANTECH DEDPV dryer ventilator | H2.3
76 | Pipe Insulation
77 | Insulation for Exterior Ductwork
78 | Fire dampers | H7.5/Detail 3, 4
79 | Fire/smoke dampers | H7.5/Detail 1
80 | Smoke damper | H7.5/Detail 2
81 | Curbs | H7.3/Detail 2
82 | Gravity Roof Vent | H7.2/Detail 8
83 | Refrigerant Vapor detectors/detection/automatic shutdown
84 | Refrigerant Isolation Ball Valves
85 | Refrigerant piping
86 | Additional refrigerant
87 | Secondary drain pans
88 | External Accessory Condensate Pump
89 | Replacement filters
90 | External filter rack
91 | Louvers or Duct work of any kind (L-1 &-2)
92 | Trapeze hanger support | H7.2/Detail 12
93 | Vibration Isolators
94 | Pipe Leveling
95 | Access panels
96 | Programing or schedule setting of Thermostats or configuration of indoor unit controls
97 | Perform Test and Air Balancing and Provide with Certified Report.
98 | Perform hydrotastic test
99 | Furnish and Install Startup and calibration
100 | Provide As-Built Drawings.
101 | Cutting, Fitting, and/or Patching as Required
102 | Provide all cores, sleeves & fire (UL) stopping pertaining to your trade at all your penetrations (duct and pipe) (slabs and walls). | H7.2/Detail 4
103 | Include all hangers and supports for all vertical and horizontal piping, Adhesive anchor to be included for fastening to slab. Subcontractor responsible for all anchorange pull tests. If existing terra cotta cannot support the weight then sub contractor must install steel supports tied into building steel as required. P.E signed and sealed shop drawings to be included. | H7.2/ detail 2, 3, and 9
104 | Unloading Storage Placement
105 | Warranty
106 | Provide workmanship guarantee & manufacturer warranty
107 | Labor warranty for first year or any year thereafter
108 | Misc.:
109 | All products supplied to meet current building codes.
110 | Protection pertaining to your trade during work.
111 | All staff to have OSHA cards and supervisor cards for a competent person.
112 | Winter Protection
113 | This sub-contractor must include fire stopping of all own slab & wall penetrations at rated locations. (Provide details for all proposed fire stopping).
114 | This sub-contractor must include own acoustical caulking of all slab & wall penetrations at non rated locations.
115 | Include Valve Tagging and Charts.
116 | Include for providing a CAD as built of all floors and for plank penetration coordination
117 | Operation and maintenance manuals shall be submitted at least FORTY FIVE (45) consecutive calendar days prior to scheduled startup of the unit or system.
118 | Testing & Inspections:
119 | All 3rd party inspections will be scheduled by MCC and this subcontractor must be present during inspections.
120 | Include for all Building Department inspection scheduling and approval paperwork follow up.
121 | Corrective work instructed by 3rd party inspector or building department to be completed within 3 days and re-inspected.
122 | Start-up and training included for all equipment.
123 | Include Testing as necessary.
124 | Advise on Payment Terms:
125 | Progress payments during on site installation to be issued in accordance with work complete.
126 | Schedule:
127 | Provide a list of long lead items
128 | Shop drawings
129 | Sheet metal fabrication
130 | Unit Installation
131 | Signoffs