June 30, 2022

B&B Contracting Group, LLC. Roger Klein

247 West 35th Street, Suite 301     [RogerK@BnBContracting.com](mailto:%20RogerK@BnBContracting.com) New York, NY  10001

(917) 496-3366 Direct Line

RE: CHESTER HEIGHTS FIRE DEPARTMENT

**RFI#1 for Plumbing**

Provide piping size for the existing water lines. The new toilets show the use of flushometer and that needs a minimum 1” water supply. We don’t know what type is being used presently.

Provide spec for Flushometer

Provide spec for shower body & faucet

Are we using manufactured shower base or are you making a custom made base? If you’re making the base pls provide us with a spec or submittal for the drain.

Thank You

Karen Panarella