June 30, 2022

B&B Contracting Group, LLC. Roger Klein

247 West 35th Street, Suite 301     [RogerK@BnBContracting.com](mailto:%20RogerK@BnBContracting.com) New York, NY  10001

(917) 496-3366 Direct Line

RE: CHESTER HEIGHTS FIRE DEPARTMENT

**RFI#2 for HVAC**

Is there existing gas/oil lines to be removed?

Need size of existing steam & condensate piping

Provide details of new piping for boiler

Why is the gas meter inside the building?

Thank You

Karen Panarella