SECTION 102813

TOILET ACCESSORIES

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

**NOTE TO SPECIFIER**

*Use this Specification Section for Mail Processing Facilities.*

***This is a Type 2 Specification with primarily editable text; therefore, most of the text can be edited, but there is some required text which is noted within the Section with a “Note to Specifier.” Do not revise these paragraphs without an approved Deviation from USPS Headquarters, Facilities Program Management, through the USPS Project Manager.***

*For Design/Build projects, do not delete the Notes to Specifier in this Section so that they may be available to Design/Build entity when preparing the Construction Documents.*

*For the Design/Build entity, this specification is intended as a guide for the Architect/Engineer preparing the Construction Documents.*

*The MPF specifications may also be used for Design/Bid/Build projects. In either case, it is the responsibility of the design professional to edit the Specifications Sections as appropriate for the project.*

*Text shown in brackets must be modified as needed for project specific requirements.* *See the “Using the USPS Guide Specifications” document in Folder C for more information.*

*The last date that USPS revised this standard specification section occurs in two places, at the end of this section and in the Table of Contents. If the date in this section matches the date in the Table of Contents, then you are using the latest version. Do not delete or revise the “last revised” date at the end of the section during the development of the Project Manual.*

*The footer in this section should be edited to replace the text, “USPS MPF SPECIFICATION” with the project name, and the blank date in the center should be replaced with the submission date, for interim design reviews, or the issue date of the completed Project Manual.*

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

PART 1 – GENERAL

1.1 SUMMARY

1. Toilet accessories.
2. Mop/broom holder with integral shelf
3. Urns

1.2 SUBMITTALS

1. Product Data: Required.
2. Shop Drawings: Required.

1.3 QUALITY ASSURANCE

1. Regulatory Requirements: Conform to applicable code for installing work in conformance with USPS Handbook RE-4.

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

**NOTE TO SPECIFIER**

\*\*Required: The custodial products used by the accessories covered in this section are available through a national strategic partnership (MLB-CO-01-012; Mandatory National Sources for Custodial Products). As part of the agreement, the suppliers provide the dispenser along with the custodial product. This arrangement ensures compatibility of custodial products (paper towels, toilet tissue, soap, etc.) with the dispenser. Therefore, in lieu of including them in the project solicitation, the dispensers are to be provided by the custodial product supplier. A/E will need to coordinate this with the contracting officer and edit the following schedule as appropriate.

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

PART 2 – PRODUCTS

2.1 MANUFACTURERS

A. Identified products must be purchased through the Mandatory National Sources Contract for custodial products, and are subject to a USPS price and requirements purchasing agreement. The following vendor contracts must be used.

 1. Cleanwise, Inc., 1-877-778-8007, FAX 1-877-778-9997

 2. W.W. Grainger, Inc., 1-800-GOV-TEAM (1-800-468-8326), FAX 1-877-699-4889

B. Sources: Bobrick, ASI, or Bradley

 1. Stainless Steel: AISI Type 302/304 with polished No. 4 finish.

2.2 SCHEDULE

 **ITEM LOCATION**

A. Toilet tissue dispenser One at each water closet. (Available through Mandatory National Sources)

B. Paper towel dispenser One at each single occupant toilet room and one for every two lavatories. (Available through Mandatory National Sources)

C. Paper towel disposal unit One for every two lavatories.

D. Napkin dispenser One at each multi-occupant women’s toilet room. (Available through Mandatory National Sources)

E. Napkin disposal One at each women’s water closet.

F. Soap dispenser One at each lavatory. (Available through Mandatory National Sources)

G. Grab bars Meet requirements of RE-4.

H. Mirror (24” x 36” minimum) One at each lavatory.

I. Mirror (18” x 60”) One at each multi-occupant toilet room.

J. Mop/broom holder with integral shelf One at each mop basin in custodial closets.

K. Large capacity wall mounted urn Two at each exterior break area.

L. Toilet seat cover dispenser One at each water closet.

PART 3 – EXECUTION

3.1 Install all products in accordance with manufacturer’s guidelines and printed instructions.

END OF SECTION

USPS MPF Specification Last Revised: 10/1/2022